## Sheet1
Site: Bellevue_______________________________
Date | Person performing service | Start time | End time | Instrument (e.g., MWAC, rain gauge, anemometer, etc.) | Instrument details (e.g., name, location, height, etc.) | Action performed
2015-08-23 | Van Zee, Webb, Clingan | All Day |  | MWAC | Entire Site | MWAC masts and bottles installed.
2015-08-24 | Van Zee, Webb, Clingan | All Day |  | Meteorological Tower | All | Met tower installed. All data collected this day are not accurate, as sensors were being tested.
2015-09-29 | Clingan | 1:03pm | 1:03pm | CR1000 | Clock | Adjusted CR1000 clock + 4.23 seconds to sync with Loggernet Server.
2015-10-23 | Clingan | 11:30am | N/A | CR1000 | Logger Clock | Clock will be checked at 3 am daily (starting 24-Oct-15) and compared to server time. If clock is more than 1 second off, clock will be set to server.
2015-11-03 | Clingan | 3:00am | N/A | CR1000 | Logger Clock | Clock was not adjusted for the end of Daylight Savings Time on 1-Nov-15. Time was corrected by subtracting 59 minutes and 59 seconds.
2016-01-30 | Healey | 12:00pm | N/A | Sensit |  | Replaced broken Sensit. Sensit data prior to today should be disregarded.
2016-02-06 | Healey | 12:00pm | N/A | Modem |  | Connected power to modem, which was accidentally disconnected when Sensit was replaced.
2016-03-13 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for start of Daylight Savings Time by jumping forward an hour (2am to 3am).
2016-05-11 | Van Zee and Webb | 12:40pm | 12:55pm | Meteorological Tower | Anemometers | Replaced anemometers at following heights: 150cm, 100cm and 50cm. There are no data for the following times at these heights: 150cm: 12:41-12:54pm; 100cm: 12:44-12:54pm; and 50cm: 12:46-12:54pm.
2016-05-11 | Van Zee and Webb | 4:30pm | 4:30pm | Reconyx Camera | Entire Site | Camera had not recorded any photos since 24-Aug-15. Card was reformatted and batteries replaced before relaunching.
2016-05-11 | Van Zee and Webb | All Day | N/A | MWAC | Entire Site | Removed MWAC bottles. Data were disgarded as bottles were left out over the winter, uncollected for 9 months.
2016-05-12 | Van Zee and Webb | 9:00am | 1:00pm | MWAC | Entire Site | MWAC bottles installed.
2016-05-12 | Van Zee and Webb | 1:00pm | 3:00pm | Dust Deposition Traps | Entire Site | Dust deposition traps installed.
2016-05-12 | Van Zee and Webb | 4:43pm | N/A | Meteorological Tower | Sensit | Sensit was disconnected and removed from Bellevue site due to a malfunction.
2016-05-12 | Unnasch, Healey, Van Zee, Webb | All Day |  |  |  | Took photopoints and read LPI & Gap on transects.
2016-07-08 | Healey | 1:00pm |  | Meteorological Tower | Sensit | Sensit S/N 1692 installed. Hooked up to power at 1:00pm.
2016-11-06 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for end of Daylight Savings Time by falling back an hour (3am to 2am).
2017-03-12 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for start of Daylight Savings Time by jumping forward an hour (2am to 3am).
2017-11-05 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for end of Daylight Savings Time by falling back an hour (3am to 2am).
2018-02-21 | Courtright |  | N/A | CR1000 | Logger Clock | Decided clock will no longer be adjusted for Daylight Savings Time. Therefore, clock will remain on Standard time throughout the year.
2019-09-03 | Unnasch |  | N/A | Meteorological Tower | Sensit | Reconnected Sensit to CR1000.
2019-09-16 | Courtright | 11:00am |  | CR1000 | OS | Updated CR1000 to OS 28.01.