## Sheet1
Site: Big Spring________________
Date | Person performing service | Start time | End time | Instrument (e.g., MWAC, rain gauge, anemometer, etc.) | Instrument details (e.g., name, location, height, etc.) | Action performed
2016-10-31 | Van Zee, Webb, Van Pelt, Strack, Guoming Zhang | 3:00pm |  | Meteorological Tower | All | Met tower installed including rain gauge. All data collected after 3 pm are accurate.
2016-10-31 | Van Zee, Webb, Van Pelt, Strack, Guoming Zhang | 3:00pm |  | Sensit |  | Sensit is wired but not in correct position. Data should be ignored. Sensit will be placed correctly after field is tilled.
2016-11-06 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for end of Daylight Savings Time by falling back an hour (3am to 2am).
2016-11-09 | Strack | 1:54pm | 1:56pm | Battery |  | Disconnected old battery and connected a new battery (7Ahr) since voltage was falling too low to record data. Data were lost sporadically on November 7-9, 2016.
2016-11-14 | Strack | 10:34am | 10:36am | Battery |  | Disconnected 7Ahr battery and connected a new, standard battery.
2016-11-17 | Strack | 9:45am | 11:21am | Field Maintenance |  | Tilled north half of field.
2016-11-30 | Strack | 8:53am | 9:15am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-01-03 | Strack | 12:15pm | 12:45pm | Camera |  | Downloaded photos and replaced batteries in camera.
2017-01-31 | Strack | 12:20pm | 12:45pm | Camera |  | Downloaded photos and replaced batteries in camera. Levelled camera.
2017-02-28 | Strack | 10:20am | 10:45am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-03-12 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for start of Daylight Savings Time by jumping forward an hour (2am to 3am).
2017-03-31 | Strack | 10:25am | 10:50am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-04-28 | Strack | 9:25am | 9:50am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-06-01 | Strack | 12:20pm | 12:45pm | Camera |  | Downloaded photos and replaced batteries in camera.
2017-06-30 | Strack | 8:15am | 8:35am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-07-31 | Strack | 8:15am | 8:40am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-08-31 | Strack | 9:20am | 9:40am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-09-29 | Strack | 8:20am | 8:40am | Camera |  | Downloaded photos and replaced batteries in camera.
2017-10-31 | Strack | 12:15pm | 12:45pm | Camera |  | Downloaded photos and replaced batteries in camera.
2017-11-05 | Courtright | 3:00am | N/A | CR1000 | Logger Clock | Clock was adjusted for end of Daylight Savings Time by falling back an hour (3am to 2am).
2017-11-30 | Strack | 7:30am | 7:55am | Camera |  | Downloaded photos and replaced batteries in camera.
2018-01-03 | Strack | 12:30pm | 12:50pm | Camera |  | Downloaded photos and replaced batteries in camera.
2018-01-08 | Strack | 1:22pm | 1:28pm | Probe |  | Cleaned sensor screen on 4m temp/rH probe.
2018-02-01 | Strack | 12:15pm | 12:35pm | Camera |  | Downloaded photos and replaced batteries in camera.
2018-02-21 | Courtright |  | N/A | CR1000 | Logger Clock | Decided clock will no longer be adjusted for Daylight Savings Time. Therefore, clock will remain on Standard time throughout the year.
2018-02-28 | Strack | 10:15am | 10:35am | Camera |  | Downloaded photos and replaced batteries in camera.
2018-03-30 | Strack | 9:20am | 9:40am | Camera |  | Downloaded photos and replaced batteries in camera.
2018-04-12 | Strack and Van Pelt | 9:00am | 2:00pm | MWAC Bottles | Entire Site | MWAC bottles installed.
2018-04-16 | Strack and Van Pelt | 12:00pm | 2:00pm | MWAC | Entire Site | Collected MWAC bottles and installed a new set.
2018-04-30 | Strack | 9:15am | 9:35am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-05-18 | Strack and Van Pelt | 7:30am | 9:00am | MWAC Bottles |  | Collected MWAC bottles and installed a new set.
2018-06-01 | Strack | 12:10pm | 12:30pm | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-06-21 | Strack and Van Pelt | 8:00am | 9:30am | MWAC Bottles |  | Collected MWAC bottles and installed a new set.
2018-06-29 | Strack | 10:05am | 10:25am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-07-20 | Strack and Van Pelt | 8:00am | 9:00am | MWAC Bottles |  | Collected MWAC bottles and installed a new set.
2018-07-31 | Strack | 8:25am | 8:45am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-08-09 | Strack | 12:08pm | 12:13pm | Anemometer | 1.5 m height | Freed jammed cup assembly.
2018-08-31 | Strack | 10:15am | 10:40am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-09-28 | Strack | 10:10am | 10:30am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-11-01 | Strack | 12:10pm | 12:35pm | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-11-30 | Strack | 10:15am | 10:30am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-01-28 | Strack | 9:15am | 9:45am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-02-28 | Strack | 2:30pm | 2:50pm | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-03-28 | Strack | 10:30am | 10:50am | Camera |  | Downloaded pictures and replaced batteries in camera.
2018-04-30 | Strack | 10:10am | 10:30am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-06-04 | Strack | 9:40am | 9:55am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-07-03 | Strack | 9:15am | 9:40am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-07-31 | Strack | 9:15am | 9:40am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-08-30 | Strack | 9:25am | 9:45am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-09-30 | Strack | 9:25am | 9:45am | Camera |  | Downloaded pictures and replaced batteries in camera.
2019-10-22 | Courtright |  |  | CR1000 |  | Completed update of the OS on the CR1000 in preparation for the new CELL210 modem install.
2019-10-25 | Strack | 1:05pm | 1:15pm | Battery |  | Replaced battery. Data were sporadically collected due to low battery voltage.